NSU’s Laboratory Rules, Postings, and Signage

The main entrance to each laboratory in which chemical, biological or radiological materials are used or stored must be posted with the following:

- Names and phone numbers of the lab supervisor and other responsible parties to be contacted in the event of a fire, accident, or spill.

- Special hazards that may be encountered in the laboratory (e.g., laser in use, cylinders, biohazardous material, radioactive material, etc.)

- Safety instructions for persons entering the laboratory such as: required protective equipment, access restrictions, etc.

- Prohibitions (e.g., No Food or Drink Allowed).

- National Fire Protection Association (NFPA) 704 diamond (supplied by EHS upon request once chemical inventory is submitted).

The interior of the laboratory must be posted with the following:

- Emergency Action Plans near the exit.

- Hazardous Waste Accumulation Area sign marking location where unwanted laboratory materials will be accumulated for collection by EHS.

- Signs identifying the location of safety equipment (e.g., fire extinguisher, safety shower, eyewash fountain, etc.).

- Signs, labels and/or warning/caution tape identifying designated use and storage areas for materials or equipment requiring special procedures.

Laboratory rules:

- EATING and DRINKING PROHIBITED in the laboratory and in the laboratory space of a combined office/laboratory room.

- Long hair must be tied back during laboratory work.

- Open toed shoes are prohibited.

- No sleeveless tops or shorts are permitted.

- Legs and midriffs must be covered with protective clothing while working in the laboratory.

- Eye Protection must be worn upon entering the lab.

- Lab coats are required.

- Lab benches/countertops must be clear of all items that are not necessary for the lab exercise/procedure.

- Lab decorations (e.g., pictures, stickers) should not in general be placed anywhere in the laboratory setting.